## Classification Flow chart
Classification Flow chart of Liquid Waste from Laboratory | 2023.03 環境安全センター
Containing mercury?
Photographic effluents?
Used culture solution?
Containing organic compounds, waste ail, ammonium or ammonium compounds (excluding ammonium nitrate)?
Containing cyanide?
pH
Containing metal mercury?
Containing organic mercury?
Containing inorganic mercury?
NO
NO
YES
A Liquid waste of inorganic mercury
YES
NO
YES
YES
Contact the Environmental Safety Center for the collection methods
M-1. Used developing fluid
M-2. Used stop solution.
M-3. Used fixing solution.
NO
Containing Infectious pathogen?
Separately treated as infectious waste
NO
YES
Containing toxic metals?
YES
Contact the Environmental Safety Center
NO
Containings nitric acid, nitrous acid, ammonium or ammonium compounds?
N Used culture solution
Sterilize using an autoclave or similar before disposal.
Or it dilute and release into sewage (toilet).
YES
NO
NO
Is flash point below 21 degree Celsius?
G Flammable organic liquid wasteⅠ
YES
NO
Containing halogen organic solvents at the concentration of 10% or more?
YES
Containing toxic metals?
pH≦2 or pH≧12.5
YES
J Halogen liquid wastes
NO
NO
Containing wate oil?
YES
I Waste oil
YES
pH≦2 or pH≧12.5
H Flammable organic liquid wasteⅡ
NO
Containing Formalin liquid waste?
K Formalin liquid waste
YES
NO
Containing organic solvents at the concentration of 10% or more?
YES
NO
NO
YES
Containing cyanide concentration 1ppm or over
YES
B Cyanide liquid wastes
NO
NO
pH≦2
YES
D Acidic liquid wastes
NO
L Incombustible organic liquid waste
NO
NO
F Liquid wastes containing toxic metals
NO
Containing nitric acid, nitrous acid or its inorganic compound?
NO
D-1 Acidic liquid wastes
5<pH<9
pH ≧ 9
E Alkaline liquid wastes
YES
YES
YES
YES
YES
YES
【Contact】
Environmental Safety Center
099-285-8126
haieki@gm.kagoshima-u.ac.jp
pH ≦ 5
Containing fluorine or boron?
NO
It can dilute and release into sewage.
Or Contact the Environmental Safety Center for the collection methods.
Contact the Environmental Safety Center
Contact the Environmental Safety Center
B Cyanide liquid wastes
Containing toxic metals?
D Acidic liquid wastes
YES, pH >8
E Alkaline liquid wastes
YES, pH ≦ 7
D Acidic liquid wastes

## Sewer Discharge Standards
1 | Cadmium and its compounds | 0.03 mg/L or less
2 | Cyanide compounds | 1 mg/L or less
3 | Organophosphorus compounds | 1 mg/L or less
4 | Lead and its compounds | 0.1 mg/L or less
5 | Chromium(VI) compounds | 0.2 mg/L or less
6 | Arsenic and its compounds | 0.1 mg/L or less
7 | Mercury and alkylmercury and other mercury compounds | 0.005 mg/L or less
8 | alkylmercury compounds | not detected
9 | Polychlorinated biphenyls; PCBs | 0.003 mg/L or less
10 | Trichloroethylene | 0.1 mg/L or less
11 | Tetrachloroethylene | 0.1 mg/L or less
12 | Dichloromethane; methylene dichloride | 0.2 mg/L or less
13 | Tetrachloromethane | 0.02 mg/L or less
14 | 1,2-dichloroethane | 0.04 mg/L or less
15 | 1,1-Dichloroethylene; vinylydene dichloride | 1 mg/L or less
16 | cis-1,2-dichloroethylene | 0.4 mg/L or less
17 | 1,1,1-trichloroethane | 3 mg/L or less
18 | 1,1,2-trichloroethane | 0.06 mg/L or less
19 | 1,3-dichloropropene; D-D | 0.02 mg/L or less
20 | Tetramethylthiuram disulfide; thiram | 0.06 mg/L or less
21 | 2-chloro-4,6-bis(ethylamino)-1,3,5-triazine; shimazine; CAT | 0.03 mg/L or less
22 | S-4-chlorobenzyl N,N-diethylthiocarbamate; thiobencarb | 0.2 mg/L or less
23 | Benzene | 0.1 mg/L or less
24 | Selenium and its compounds | 0.1 mg/L or less
25 | Boron and its compounds | 10 mg/L or less
26 | Fluorine and its compounds | 8 mg/L or less
27 | 1,4-dioxane | 0.5 mg/L or less
28 | Dioxins | 10 pg-TEQ/L or less
29 | Phenols | 5 mg/L or less
30 | Copper and its compounds | 3 mg/L or less
31 | Zinc and its compounds | 2 mg/L or less
32 | iron and its compounds (solubility) | 10 mg/L or less
33 | Manganese and its compounds (solubility) | 10 mg/L or less
34 | chromium and its compounds | 2 mg/L or less
35 | pH | More than 5 and less than 9
36 | BOD (Biochemical oxygen demand) | Less than 600 mg/L
37 | SS (Suspended solids) | Less than 600 mg/L
38 | n-Hexane Extracts (animal and vegetable oils and fats) | 30 mg/L or less
39 | Temperature | Less than 45℃
40 | Iodine consumption | Less than 220 mg/L

## SDS+EQS
| Item | SDS | EQS
1 | Cadmium and its compounds | 0.03 mg/L or less | 0.003 mg/L or less
2 | Cyanide compounds | 1 mg/L or less | not detected
3 | Organophosphorus compounds | 1 mg/L or less | -
4 | Lead and its compounds | 0.1 mg/L or less | 0.01 mg/L or less
5 | Chromium(VI) compounds | 0.2 mg/L or less | 0.02 mg/L or less
6 | Arsenic and its compounds | 0.1 mg/L or less | 0.01 mg/L or less
7 | Mercury and alkylmercury and other mercury compounds | 0.005 mg/L or less | 0.0005 mg/L or less
8 | alkylmercury compounds | not detected | not detected
9 | Polychlorinated biphenyls; PCBs | 0.003 mg/L or less | not detected
10 | Trichloroethylene | 0.1 mg/L or less | 0.01 mg/L or less
11 | Tetrachloroethylene | 0.1 mg/L or less | 0.01 mg/L or less
12 | Dichloromethane; methylene dichloride | 0.2 mg/L or less | 0.02 mg/L or less
13 | Tetrachloromethane | 0.02 mg/L or less | 0.002 mg/L or less
14 | 1,2-dichloroethane | 0.04 mg/L or less | 0.004 mg/L or less
15 | 1,1-Dichloroethylene; vinylydene dichloride | 1 mg/L or less | 0.1 mg/L or less
16 | cis-1,2-dichloroethylene | 0.4 mg/L or less | 0.04 mg/L or less
17 | 1,1,1-trichloroethane | 3 mg/L or less | 1 mg/L or less
18 | 1,1,2-trichloroethane | 0.06 mg/L or less | 0.006 mg/L or less
19 | 1,3-dichloropropene; D-D | 0.02 mg/L or less | 0.002 mg/L or less
20 | Tetramethylthiuram disulfide; thiram | 0.06 mg/L or less | 0.006 mg/L or less
21 | 2-chloro-4,6-bis(ethylamino)-1,3,5-triazine; shimazine; CAT | 0.03 mg/L or less | 0.003 mg/L or less
22 | S-4-chlorobenzyl N,N-diethylthiocarbamate; thiobencarb | 0.2 mg/L or less | 0.02 mg/L or less
23 | Benzene | 0.1 mg/L or less | 0.01 mg/L or less
24 | Selenium and its compounds | 0.1 mg/L or less | 0.01 mg/L or less
25 | Boron and its compounds | 10 mg/L or less | 1 mg/L or less
26 | Fluorine and its compounds | 8 mg/L or less | 0.8 mg/L or less
27 | 1,4-dioxane | 0.5 mg/L or less | 0.05 mg/L or less
28 | Dioxins | 10 pg-TEQ/L or less | -
29 | Phenols | 5 mg/L or less | -
30 | Copper and its compounds | 3 mg/L or less | -
31 | Zinc and its compounds | 2 mg/L or less | -
32 | iron and its compounds (solubility) | 10 mg/L or less | -
33 | Manganese and its compounds (solubility) | 10 mg/L or less | -
34 | chromium and its compounds | 2 mg/L or less | -
35 | pH | More than 5 and less than 9 | -
36 | BOD (Biochemical oxygen demand) | Less than 600 mg/L | -
37 | SS (Suspended solids) | Less than 600 mg/L | -
38 | n-Hexane Extracts (animal and vegetable oils and fats) | 30 mg/L or less | -
39 | Temperature | Less than 45℃ | -
40 | Iodine consumption | Less than 220 mg/L | -
| Anmonia and anmoniumu conpounds | Less than 100 mg/L | -
| nitrite compounds and nitric acid compounds |  | Less than 10 mg/L