## Sheet1 (2)
Classification Flow chart of Liquid Waste from Laboratory | 2023.03 環境安全センター
Containing mercury?
Photographic effluents?
Used culture solution?
Containing organic compounds, waste ail, ammonium or ammonium compounds (excluding ammonium nitrate)?
Containing cyanide?
pH
Containing metal mercury?
Containing organic mercury?
Containing inorganic mercury?
NO
NO
YES
A Liquid waste of inorganic mercury
YES
NO
YES
YES
Contact the Environmental Safety Center for the collection methods
M-1. Used developing fluid
M-2. Used stop solution.
M-3. Used fixing solution.
NO
Containing Infectious pathogen?
Separately treated as infectious waste
NO
YES
Containing toxic metals?
YES
Contact the Environmental Safety Center
NO
Containings nitric acid, nitrous acid, ammonium or ammonium compounds?
N Used culture solution
Sterilize using an autoclave or similar before disposal.
Or it dilute and release into sewage (toilet).
YES
NO
NO
Is flash point below 21 degree Celsius?
G Flammable organic liquid wasteⅠ
YES
NO
Containing halogen organic solvents at the concentration of 10% or more?
YES
Containing toxic metals?
pH≦2 or pH≧12.5
YES
J Halogen liquid wastes
NO
NO
Containing wate oil?
YES
I Waste oil
YES
pH≦2 or pH≧12.5
H Flammable organic liquid wasteⅡ
NO
Containing Formalin liquid waste?
K Formalin liquid waste
YES
NO
Containing organic solvents at the concentration of 10% or more?
YES
NO
NO
YES
Containing cyanide concentration 1ppm or over
YES
B Cyanide liquid wastes
NO
NO
pH≦2
YES
D Acidic liquid wastes
NO
L Incombustible organic liquid waste
NO
NO
F Liquid wastes containing toxic metals
NO
Containing nitric acid, nitrous acid or its inorganic compound?
NO
D-1 Acidic liquid wastes
5<pH<9
pH ≧ 9
E Alkaline liquid wastes
YES
YES
YES
YES
YES
YES
【Contact】
Environmental Safety Center
099-285-8126
haieki@gm.kagoshima-u.ac.jp
pH ≦ 5
Containing fluorine or boron?
NO
It can dilute and release into sewage.
Or Contact the Environmental Safety Center for the collection methods.
Contact the Environmental Safety Center
Contact the Environmental Safety Center
B Cyanide liquid wastes
Containing toxic metals?
D Acidic liquid wastes
YES, pH >8
E Alkaline liquid wastes
YES, pH ≦ 7
D Acidic liquid wastes

## Sheet1
1 | Cadmium and its compounds | 0.03 mg/L or less | 21 | 2-chloro-4,6-bis(ethylamino)-1,3,5-triazine; shimazine; CAT | 0.03 mg/L or less
2 | Cyanide compounds | 1 mg/L or less | 22 | S-4-chlorobenzyl N,N-diethylthiocarbamate; thiobencarb | 0.2 mg/L or less
3 | Organophosphorus compounds | 1 mg/L or less | 23 | Benzene | 0.1 mg/L or less
4 | Lead and its compounds | 0.1 mg/L or less | 24 | Selenium and its compounds | 0.1 mg/L or less
5 | Chromium(VI) compounds | 0.5 mg/L or less | 25 | Boron and its compounds | 10 mg/L or less
6 | Arsenic and its compounds | 0.1 mg/L or less | 26 | Fluorine and its compounds | 8 mg/L or less
7 | Mercury and alkylmercury and other mercury compounds | 0.005 mg/L or less | 27 | 1,4-dioxane | 0.5 mg/L or less
8 | alkylmercury compounds | not detected | 28 | Dioxins | 10 pg-TEQ/L or less
9 | Polychlorinated biphenyls; PCBs | 0.003 mg/L or less | 29 | Phenols | 5 mg/L or less
10 | Trichloroethylene | 0.1 mg/L or less | 30 | Copper and its compounds | 3 mg/L or less
11 | Tetrachloroethylene | 0.1 mg/L or less | 31 | Zinc and its compounds | 2 mg/L or less
12 | Dichloromethane; methylene dichloride | 0.2 mg/L or less | 32 | iron and its compounds (solubility) | 10 mg/L or less
13 | Tetrachloromethane | 0.02 mg/L or less | 33 | Manganese and its compounds (solubility) | 10 mg/L or less
14 | 1,2-dichloroethane | 0.04 mg/L or less | 34 | chromium and its compounds | 2 mg/L or less
15 | 1,1-Dichloroethylene; vinylydene dichloride | 1 mg/L or less | 35 | pH | More than 5 and less than 9
16 | cis-1,2-dichloroethylene | 0.4 mg/L or less | 36 | BOD (Biochemical oxygen demand) | Less than 600 mg/L
17 | 1,1,1-trichloroethane | 3 mg/L or less | 37 | SS (Suspended solids) | Less than 600 mg/L
18 | 1,1,2-trichloroethane | 0.06 mg/L or less | 38 | n-Hexane Extracts (animal and vegetable oils and fats) | 30 mg/L or less
19 | 1,3-dichloropropene; D-D | 0.02 mg/L or less | 39 | Temperature | Less than 45℃
20 | Tetramethylthiuram disulfide; thiram | 0.06 mg/L or less | 40 | Iodine consumption | Less than 220 mg/L
21 | 2-chloro-4,6-bis(ethylamino)-1,3,5-triazine; shimazine; CAT | 0.03 mg/L or less
22 | S-4-chlorobenzyl N,N-diethylthiocarbamate; thiobencarb | 0.2 mg/L or less
23 | Benzene | 0.1 mg/L or less
24 | Selenium and its compounds | 0.1 mg/L or less
25 | Boron and its compounds | 10 mg/L or less
26 | Fluorine and its compounds | 8 mg/L or less
27 | 1,4-dioxane | 0.5 mg/L or less
28 | Dioxins | 10 pg-TEQ/L or less
29 | Phenols | 5 mg/L or less
30 | Copper and its compounds | 3 mg/L or less
31 | Zinc and its compounds | 2 mg/L or less
32 | iron and its compounds (solubility) | 10 mg/L or less
33 | Manganese and its compounds (solubility) | 10 mg/L or less
34 | chromium and its compounds | 2 mg/L or less
35 | pH | More than 5 and less than 9
36 | BOD (Biochemical oxygen demand) | Less than 600 mg/L
37 | SS (Suspended solids) | Less than 600 mg/L
38 | n-Hexane Extracts (animal and vegetable oils and fats) | 30 mg/L or less
39 | Temperature | Less than 45℃
40 | Iodine consumption | Less than 220 mg/L